### Marine Bells

A unique, patented alarm bell designed for use in fire, security and other signalling systems. The combination of a miniature solenoid with an integrated control circuit allows excellent sound coverage, minimum current consumption and increased reliability. The improved aesthetics make the bell suitable for all applications including the most prestigious locations.

Image shown is Electronic Solenoid Bell 24V DC, part number 29600-534

- 155mm (6") Gong

- High sound output

- Low current consumption

- Simple installation

- No backbox required for surface wiring

- Weatherproof Kit available

Add to apolloPlus

FolderName

| Product Variants |
| --- |
| Product Name | Part Number |
| Electronic Solenoid Bell 24V DC Red | 29600-534 |
| Electronic Solenoid Bell 24V DC Red (weatherproof) | 29600-535 |